Noise (CEST Level Reviews) – PARTNER

HUD Exchange Noise Abatement and Control Page

- What activities does your project involve? Check all that apply:

☐ New construction for residential use

NOTE: HUD assistance to new construction projects is generally prohibited if they are located in an Unacceptable zone, and HUD discourages assistance for new construction projects in Normally Unacceptable zones.  See 24 CFR 51.101(a)(3) for further details.

Continue to Question 4.

☐ Rehabilitation of an existing residential property

NOTE: For modernization projects in all noise zones, HUD encourages mitigation to reduce levels to acceptable compliance standards.  See 24 CFR 51 Subpart B for further details.

Continue to Question 2.

☐ None of the above

If the RE/HUD agrees with this recommendation, the review is in compliance with this section. Continue to the Worksheet Summary below.

- Do you have standardized noise attenuation measures that apply to all modernization and/or minor rehabilitation projects, such as the use of double glazed windows or extra insulation?

☐ Yes

Indicate the type of measures that will apply (check all that apply):

☐ Improved building envelope components (better windows and doors, strengthened sheathing, insulation, sealed gaps, etc.)

☐ Redesigned building envelope (more durable or substantial materials, increased air gap, resilient channels, staggered wall studs, etc.)

☐ Other (explain below)

Click here to enter text.

If the RE/HUD agrees with this recommendation, the review is in compliance with this section. Continue to the Worksheet Summary below and provide any documentation.

☐ No

Continue to Question 3.

- Complete the Preliminary Screening to identify potential noise generators in the vicinity (1000’ from a major road, 3000’ from a railroad, or 15 miles from an airport).

Describe findings of the Preliminary Screening:

Click here to enter text.

Continue to Question 6.

- Complete the Preliminary Screening to identify potential noise generators in the vicinity (1000’ from a major road, 3000’ from a railroad, or 15 miles from an airport).

Indicate the findings of the Preliminary Screening below:

☐ There are no noise generators found within the threshold distances above.

If the RE/HUD agrees with this recommendation, the review is in compliance with this section. Continue to the Worksheet Summary below. Provide a map showing the location of the project relative to any noise generators.

☐ Noise generators were found within the threshold distances.

Continue to Question 5.

- Complete the Noise Assessment Guidelines to quantify the noise exposure. Indicate the findings of the Noise Assessment below:

☐ Acceptable:  (65 decibels or less; the ceiling may be shifted to 70 decibels in circumstances described in §24 CFR 51.105(a))

Indicate noise level here:  Click here to enter text.

If the RE/HUD agrees with this recommendation, the review is in compliance with this section. Continue to the Worksheet Summary below. Provide noise analysis, including noise level and data used to complete the analysis.

☐ Normally Unacceptable:  (Above 65 decibels but not exceeding 75 decibels; the floor may be shifted to 70 decibels in circumstances described in 24 CFR 51.105(a))

Indicate noise level here:  Click here to enter text.

Is the project in a largely undeveloped area?

☐	No  The project requires completion of an Environmental Assessment (EA) pursuant to 51.104(b)(1)(i).

☐ Yes The project requires completion of an Environmental Impact Statement (EIS) pursuant to 51.104(b)(1)(i).

Work with the RE/HUD to elevate the level of review. Provide noise analysis, including noise level and data used to complete the analysis.

Continue to Question 6.

☐ Unacceptable:  (Above 75 decibels)

Indicate noise level here:  Click here to enter text.

The project requires completion of an Environmental Impact Statement (EIS) pursuant to 51.104(b)(1)(i). Work with HUD or the RE to either complete an EIS or obtain a waiver signed by the appropriate authority.

Continue to Question 6.

- HUD strongly encourages mitigation be used to eliminate adverse noise impacts. Work with the RE/HUD on the development of the mitigation measures that must be implemented to mitigate for the impact or effect, including the timeline for implementation.

☐ Mitigation as follows will be implemented:

Click here to enter text.

Provide drawings, specifications, and other materials as needed to describe the project’s noise mitigation measures.

Continue to the Worksheet Summary.

☐ No mitigation is necessary.

Explain why mitigation will not be made here:

Click here to enter text.

Continue to the Worksheet Summary.

Worksheet Summary

Provide a full description of your determination and a synopsis of the information that it was based on, such as:

- Map panel numbers and dates

- Names of all consulted parties and relevant consultation dates

- Names of plans or reports and relevant page numbers

- Any additional requirements specific to your program or region

Include all documentation supporting your findings in your submission to HUD.

Click here to enter text.

A largely undeveloped area means the area within 2 miles of the project site is less than 50 percent developed with urban uses and does not have water and sewer capacity to serve the project.