APPENDIX B
FOUNDATION DESIGN LOAD TABLES

B-100.	USE OF THE FOUNDATION DESIGN LOAD TABLES.

Anchorage Locations

Figure B -

B-100.1	GENERAL.  The Foundation Design Load Tables provide design values specific to the four conditions of foundation design: items A thru D below.  Refer to Figure B-1 for diagrams of anchorage locations designed to resist wind or seismic forces acting on the structure, and footing size to prevent settlement.  Refer to Appendix D for a more detailed derivation of the Foundation Design Load Tables.  The four conditions are:

A.	The required footing area based on the allowable soil bearing capacity under full gravity loading.  The footing area is found in the Required Effective Footing Area Tables - Part 1 (pgs. B-3 to B-32).

B.	The required anchorage to prevent uplift and overturning (Av) - Required Vertical Anchorage Tables - Part 2 (pgs. B-33 to B-42).

C.	The required anchorage to prevent sliding (Ah) in the transverse direction - Required Horizontal Anchorage Tables - Part 3 (pgs.B-43 to B-59).

D.	The required anchorage to prevent sliding (Ah) in the longitudinal direction - Required Horizontal Anchorage Tables - Part 4 (pgs.  B-60 to B-84).

B-100.2.	REQUIRED EFFECTIVE FOOTING AREA (Aftg).  These tables provide the required effective footing area that will not exceed the allowable soil bearing capacity under full gravity loading of dead load plus live load.

B-100.3	REQUIRED VERTICAL ANCHORAGE (Av).

A.	The Vertical Anchorage Table provides the required anchorage to resist uplift due to wind suction and overturning at the perimeter foundation wall or pier locations.  Refer to Figure B-1.

B.	Assumption: Uplift and overturning is resisted by anchorage to the piers and/or foundation walls.

B-100.4	REQUIRED HORIZONTAL ANCHORAGE (Ah) IN THE TRANSVERSE DIRECTION.

A.	The Horizontal Anchorage Table provides the required anchorage to prevent sliding at the short foundation shear wall locations.  Refer to Figure B-1.

B.	Assumption: Sliding is resisted by anchorage to the short foundation shear walls and a portion of the dead load.)

C.	Shear walls in the manufactured home are walls that have been designed and constructed by the manufacturer to resist lateral loads.  The home's shear walls transfer lateral loads to the floor frame.

D.	Assumption: Shear walls inside the unit are reasonably close to the location of short foundation shear walls for proper load transfer.

B-100.5	REQUIRED HORIZONTAL ANCHORAGE (Ah) IN THE LONGITUDINAL DIRECTION.

A.	The Horizontal Anchorage Table provides the required anchorage to prevent sliding at the long foundation shear wall locations.  Refer to Figure B-1.

B.	Assumption: Sliding is resisted by anchorage to the long foundation shear walls and a portion of the dead load.

C.	Shear walls in the manufactured home are walls that have been designed and constructed by the manufacturer to resist lateral loads.  The home's shear walls transfer lateral loads to the floor frame.

D.	Assumption: Shear walls inside the unit are reasonably close to the location of long foundation shear walls for proper load transfer.

INDEX to TABLES in APPENDIX B

Part 1 - Required Efective Footing Area (Aftg)

Single Section C	B-3 to B-6

Single Section E, I	B-7

Multi-section C	B-8 to B-16

Multi-Section Cnw	B-17 to B-20

Multi-Section E, I	B-21 to B-29

Multi-Section E5, E6	B-30 to B-38

Multi-Section E7	B-39 to B-47

Part 2 - Required Vertical Anchorage - (Av)

Single-Section C	B-48

Single-Section C1	B-49

Single-Section E	B-50

Single-Section E3	B-51

Single-Section I	B-52

Multi-Section C	B-53 to B-54

Multi-Section E	B-55 to B-56

Multi-Section E3	B-57

Multi-Section I	B-58 to B-59

Part 3 - Required Horizontal Anchorage -(Ah) Transverse Direction

Single-Section C, E, I	B-60 to B-64

Multi-Section C, E, I	B-65 to B-80

Part 4 - Required Horizontal Anchorage -(Ah) Longitudinal Direction

Single-Section C, E, I	B-81 to B-89

Multi-Section C, E, I	B-90 to B-100