APPENDIX E
OWNER’S SITE ACCEPTABILITY WORKSHEET

Owner's
Name:

Address:

Telephone:

Site Location:

Legal Description:

Have you provided a copy of a map pinpointing the site?	yes	no

Have you submitted a foundation plan?	yes	no
(See #10 of Manufacture’s Worksheet)

Preliminary Site Information

Before approval of the site can begin, the applicant must provide preliminary site information to the field office.  Refer to Chapter 2, “Site Acceptability Criteria” for clarification.

1.	Provide survey results showing existing grade elevation. (201-1)					ft.

2.	Is the building in a flood-prone area? (201-2)	yes	no
If the answer to 2 is Yes, answer 3, 4, & 5.
If the answer to 2 is No, answer 6, below.

3.	What is the Base Flood Elevation?					ft.

What is the Flood Protection Elevation?					ft.

4.	Has approval for drainage, grading and berming been approved for flood-prone sites?	yes	no

5.	Have permits been provided?	yes	no
(Permits must be obtained for any alteration of the building site in a flood protection area.)

6.	Provide geotechnical report in areas of known high water table. (201-4)	yes	no

7.	Provide geotechnical report if adverse site conditions are found or suspected. (203)	yes	no

8.	Provide site-drainage plan complying with CABO R301.3 or local requirements. (301)	yes	no

9.	Provide fill specifications if site is to be prepared with earth fill. (303-2) 	yes	no

10.	If a geotechnical report is required, what is the net allowable soil bearing pressure? (202)					psf.

11.	If no adverse soil conditions are known or suspected, and if the home is individually sited, assume a soil bearing pressure of 1,000 psf. and use this value when a determination of soil bearing pressure is called for.				1,000	psf.

APPENDIX E
MANUFACTURER'S WORKSHEET

Manufacturer's
Company Name:

Address:

Telephone:

Determination of Building Structure and Size

The manufacturer shall provide the following information:

1.	Type of unit			Single-Section
			Multi-Section

2.	Method, location and types of support:
Refer to Figures 6-7 and 6-8 and Section 601-4
Is the home a C, E, or I?

3.	Length of unit L					ft.

4.	Actual width of unit Wt					ft.

5.	Height of exterior wall **					ft.

6.	Height of roof peak **					ft.

7.	Roof slope **

8.	Self weight of total unit (W) including mechanical equipment **					lbs.

9.	Distance between chassis members					ft.

10.	One foundation design concept (See Appendix A)				
(C1-C4; E1-E8; or I)

11.	Recommended pier spacing **

a.	Exterior					ft.

b.	Interior					ft.

c.	Continuous Marriage Wall					ft.

Length of largest isolated marriage wall opening or average of largest two adjacent openings					ft.

d.	Tie-down Strap (C1 concept only)								ft.
		(Number)				(Spacing)

12.	One installation method recommendations (include documentation showing connection details pertinent to geographic area for seismic or wind). **	yes	no

13.	Interior shear wall locations (include documentation showing locations). **	yes	no

14.	Design wind speed used in designing connection details for horizontal anchorage (Ah) and vertical anchorage (Av) in the transverse direction. **					mph.

15.	Seismic acceleration values used in designing connection details	Av			
for horizontal anchorage (Ah) in the transverse and longitudinal directions. **	Aa

16.	Shear wall connection details with rated capacity for wind and seismic are provided. ** †	yes	no

a.	Connection locations at foundation end and interior walls shown? **	yes	no

b.	Rated connection capacity for uplift and overturning **					lbs./ft.
		(or lbs./tie-down)

c.	Rated connection capacity for sliding in transverse direction **					lbs./ft.
			(or lbs./diag. strap)

d.	Rated connection capacity for sliding in longitudinal direction **					lbs./ft.

e.	Vertical X-bracing tension strap capacity **				
			lbs./diag. strap

f.	Engineering calculation by licensed structural engineer? **	yes	no

** Optional values: It is optional for the manufacturer to provide these values.  If the manufacturer does not provide the values, it is the responsibility of the owner to supply values, based on engineering analysis by a licensed structural engineer.

† Item 16 is provided in California.