APPENDIX F
DESIGN WORKSHEET

Owner’s Name:

Address:

Builder’s Name:

Site Location:

PART 1: SITE CONDITIONS

(Accompanies Chapter 2)

1.	Has the Manufacturer’s Worksheet been provided?	yes	no

Existing Grade Elevation (201-1)

2.	Does the site require a survey?	yes	no
(Answer yes if: 1) elev. to be altered by grade or fill; 2) site near flood zone; 3) subdivision.  Answer no if individually-sited with no alteration of building site.)

3.	If yes to above, what is the surveyed existing grade elevation?					ft.

Flood Protection Elevation (201-2)

4.	Is the building site in a flood zone?	yes	no
(If yes to 4, then answer 5, 6, 7 & 8.  If no, skip to 9.)

5.	What is the Base Flood Elevation or the Flood Protection Elevation (use highest value)?					ft.

6.	Is the site to be graded, filled, or bermed?	yes	no
(If no, skip to 9.)

7.	If yes to 6, have all permits been provided?	yes	no

8.	If no to 6, then are the buildings to be built on elevated foundations?	yes	no
(If yes, this handbook cannot be used.  Refer to FEMA Manual.)

Frost Penetration Depth (201-3)

9.	What is the maximum frost penetration depth?					in.
(see Appendix H, page H-4)

10a.	Does foundation plan show base of footing extending below frost penetration depth?	yes	no
(If yes proceed; if no, applicant should revise plans.)

10b.	Does foundation plan show base of footing extending below topsoil layer (min. 12”) to undisturbed soil?	yes	no

Ground Water Table Elevation (201-4)

11.	For subdivisions, does a Geotechnical Engineer recommend drainage of subsurface water?	yes	no
(If no, skip to 13.)

12.	Has groundwater drainage plan been provided?	yes	no

Soil Conditions (202, 203)

13.	If any of the following adverse site conditions are discovered, specific recommendations by a Geotechnical Engineer will be required (applies to subdivisions and individually-sited homes.)

Organic soil (8” topsoil layer)	yes	no

Expansive (shrink-swell) soil	yes	no

Sloping site	yes	no

Subsidence	yes	no

(Applicant may be referred to Geotechnical Engineer if any of the above are yes.  If no, to all of above, move to next step.)

14.	Is area in a known termite infestation area?	yes	no

Region classification?					
(See Appendix H, Termite Infestation Map, page H-10)  (If no, skip to 16.)

15.	Has applicant complied with CABO R-308 or local ordinance for construction procedures and treatment?	yes	no
(If yes, continue; if no, refer applicant to CABO requirements.)

PART 2: SITE PREPARATION

(Accompanies Chapter 3)

16.	Acceptable surface drainage plan provided? (301)	yes	no
(If no, one must be provided for subdivision)

17.	Grading plan provided? (302)	yes	no

18.	Fill specifications conforming to those cited in HUD Land Planning Data Sheet (79g)? (303)	yes	no
(If fill is used, below the home's foundation, a report by Geotech. Eng. should be submitted to provide fill specifications.)

19.	Finish grade elevation? (304)					*
(Check answers to Part 1: #4 & #5. The finish grade elevation must be higher than #5 if in flood zone.)

PART 3: DESIGN LOADS

(Accompanies Chapter 4)

Information from Manufacturer's Worksheet

20.	Has all the information been provided on the Manufacturer's Worksheet? (Appendix E)	yes	no

21.	What is the building self weight (W)?					lbs.
(Mfg. Wksht. #8)

22.	What is the building length (L)?					ft.
(Mfg. Wksht. #3)

23.	What is the distributed weight per foot of unit length? (w=W/L)					lbs./ft.
(402-1.B, C)

24.	What is the building type?			Single-Section
(Mfg. WkSht. #2) 			Multi-Section

C, E, or I

Foundation design concept?
(C1, C2, C3, C4, E1, E3, E4, E5, E6, E7, E8, I)					*

Dead Load (402-1)

25.	What is the light dead load value from Table 4-1?					*
(402-1.A.1)			(lbs./ft.)

26.	What is the heavy dead load value from Table 4-1?					*
(402-1.A.2)			(lbs./ft.)

27.	Does the answer from Question #23 fall within the values in #25 and #26? (402-1.D)	yes	no
(If the answer is yes, continue. If no, the foundation is not within the limits of this document and must be redesigned by a structural engineer.)

Snow Load (402-2) / Minimum Roof Live Load (402-2.C)

28a.	What is average annual ground snowfall (Pg)?					*
(See Ground Snow Load map, pages H-11, H-12 and H-13.)			(lbs./sq.ft.)

28b.	What is 0.7 multiplied by Pg?					psf.

29a.	What is the roof slope? (Mfg. Wksht. #7)

29b.	What is the minimum roof live load for the roof slope?					psf.
(D-200.2.B)

30.	Record the larger magnitude of item 28b or item 29b.  Use this magnitude for roof load where required.					psf.

Wind Load (402-3)

31a.	What is the basic wind speed (V)?					mph.
(See Wind Speed map, page H-14.)

31b.	If V is less than 80 mph, record MPS min. 80 mph for wind design. (402-3.A)					mph.

32.	Is the site inland or coastal? (402-3.B)	Inland
(If inland, skip to question #38.) 	Coastal

33.	If a coastal area, has the manufacturer provided connection details? (402-3.D) (Mfg. Wksht. #12)	yes	no

34.	If yes to #33, what design wind speed has the manufacturer used in designing connection details?					mph. *
(Mfg. Wksht. #14)

35.	Are the connection locations shown? (Mfg. Wksht. #16a)	yes	no

36.	Are connection details provided for foundation shear walls?	yes	no
(For an answer of yes, all questions under Mfg. Wksht #16 must be answered satisfactorily.)

37.	Is the value for Question 34 equal to or greater than the number given in Question 31?	yes	no
(If yes, proceed.  If no, return design to manufacturer for clarification.)

Seismic Load

38a.	What are the seismic acceleration values?	Aa				*
(See Seismic maps, pages H-15 and H-16)
	Av				*

38b.	Is Av < 0.15?	yes	no
(if no, proceed.  If yes, seismic need not be considered, skip questions 39 to 41.)

39.	Seismic performance category.				
(See H-300 for Special Requirements of Foundation Design.)

40.	What is the applicant's proposed design concept?					*
(Design Wksht. #24)

41.	Do the Foundation Design Concept Tables approve the foundation system for use in seismic areas of Question #38 above? (See Appendix A)	yes	no
(If yes, proceed.  If no, return to applicant for foundation design choice more suited to high seismic areas.)

PART 4-FINAL DESIGN PROCEDURE

(Accompanies Chapter 6)

42.	What is the actual building width?					ft.
(Mfg. Wksht. #4)

43.	The nominal building width to be used in the Foundation Design Tables, (Aftg, Av & Ah) is Wt:					ft.
(600-2.A and Figure 6-1)

44.	Where are the foundation supports located?  Check drawings			Chassis Beams
submitted by the owner and Foundation Design Concepts in			Exterior Walls
Appendix A.  Circle the support locations shown on the		Marriage Wall
Manufacturer's foundation concept plan.

45.	Do these locations match the Foundation Concept shown in Appendix A?  Do the locations match Question #24 on the Design Worksheet?	yes	no
(If yes, proceed.  If no, return to Owner for clarification.)

46.	Is Vertical Anchorage present?	yes	no
(601-2.B, 601-3.B & 601-4.B (Figures 6-7 & 6-8);  Mfg. Wksht. #12 & #16)

APPENDIX A

47.	What is the basic system type?					*
(From Part 3: #24; Mfg. Wksht. #2)

48.	What is the spacing between piers?	Exterior:		4'  5'  6'  7'  8'
(Mfg. Wksht. #11)
(602-2)	Interior:		4'  5'  6'  7'  8'

Continuous Marriage Wall:		4'  5'  6'  7'  8'

Largest or Average Marriage Wall Opening:				ft.

Tie Down (C1) 				ft.

APPENDIX B

Required Footing Size

49.	The required Exterior Wall Footing, for the foundation type, is found in the Required Effective Footing Area table in App. B, Part 1. (Use maximum value from item #30.)					*

The Required Exterior Square Footing size is:	Type C				sq.ft.

Type E or I				ft.
			(width)

50.	The Required Interior Footing area is: 					sq.ft.
(Also exterior piers for foundation type E)

51a.	The Required Continuous Marriage Wall Footing area is:					sq.ft.

51b.	The Required Footing area under posts at the ends of marriage wall opening(s) is:					sq.ft.

Vertical Anchorage Requirements in the Transverse Direction (602-4)

52a.	Using the Foundation Design Load Tables (Appendix B,	Exterior Av				*
Part 2), determine the Required Vertical Anchorage.		(lbs./pier spacing;
		lbs./ft for E type;
		lbs./tie-down spacing)

52b.	Number of vertical tie-down locations for multi-section units:			2  or  4  or  6

52c.	For units with additional vertical anchorage at the interior piers, determine the Required Vertical Anchorage.	Interior Av				*
			(lbs./int pier spacing)

53.	What is the manufacturer-supplied value?	Exterior				*
(#16b, Mfg. WkSht.)
	Interior				*

54.	Is this value (#53) greater than the value given in #52a?	yes	no
(If yes, continue.  If no, return to owner for clarification.)

Horizontal Anchorage Requirements In The Transverse Direction (602-5)

|  |  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- | --- |
| 55a. | What number of transverse foundation walls was selected? (602-5.E) (If vertical X-bracing planes are used, complete items #55a, #56 and #57 for 2 transverse walls, and then skip to item #59.) |  | 2 | 4 | 6 |  |
| 55b. | Are diagonal ties used to complete the top of the transverse short wall for horizontal anchorage? (602-5.G.1) |  | yes no | yes no | yes no |  |
|  | Estimate height (h) for appropriate illustration in Figure 6-10. |  |  |  |  | ft. |

|  |  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- | --- |
| 56. | Using the tables, find the Required Horizontal Anchorage (Ah). (Appendix B; Part 3) | End Wall Ah |  |  |  | lbs./ft. |
|  |  | Int Wall Ah |  |  |  | lbs./ft. |
| 57a. | What is the manufacturer’s-supplied rated capacity for sliding? (#16c, Mfg. WkSht.) |  |  |  |  | lbs./ft. |
| 57b. | If answer to item #55b is yes, record manufacturer or product supplier rated strap tension capacity |  |  |  |  | lbs./strap |
| 58a. | Is value #57a greater than item #56? If yes, continue. If no, return to section 602-4.C and to question #55a and select a larger number of transverse foundation walls. If the maximum number selected (6) does not work, return to owner (who may wish to contact the manufacturer for clarification). |  | yes no | yes no | yes no |  |
| 58b. | If answer to #55b is yes, required tension in diagonal (Tt). (Complete procedure in Section 602.5.G.1.) |  |  |  |  | lbs. |
| 58c. | Is value #57b greater than #58b? If yes, continue to item #62. If no, return to owner for product with greater capacity. |  | yes no | yes no | yes no |  |

59.	If using vertical X-bracing planes in lieu of transverse short walls (and the formulas in section 602-5.G.2), determine anchorage values and sizes for diagonal members.
(If shear walls are selected in item #55, skip to item #62.)

|  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- |
| a. | Vertical X-bracing spacing proposed. |  |  |  | ft. * |
| b. | Number of vertical X-bracing locations proposed. (Item #13, Mfg. WkSht. for trial 1.) |  |  |  | * |

|  |  |  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | c. |  | Required horizontal anchorage (C) value, based on formula. (602-5.G.2.c) |  |  |  | lbs./ x-brace set |
|  | d. |  | Estimated height (h) in Figure 6-10. |  |  |  | ft. |
|  | e. |  | Tension (Tt) required. (602-5.G.2.d) |  |  |  | lbs./diag. |
| 60. |  | What is the manufacturer-supplied rated strap tension capacity? (#16, Mfg. WkSht.) (or capacity defined by literature supplied by product supplier) |  |  |  |  | lbs. * |
| 61a. |  | Is value #57 greater than value #59c? If yes, continue. If no, return to Section 602-5.G and to question #59 and select a greater number of X-brace locations as a next trial. Repeat until answer is yes, then continue. |  | yes no | yes no | yes no |  |
| 61b. |  | Is value #60 greater than value #59e? If yes, continue. If no, return to section 602-5.G and to question #59 and select a greater number of X-bracing locations. If the maximum number selected does not work, return to owner (who may wish to contact the manufacturer for clarification or product supplier for clarification). |  | yes no | yes no | yes no |  |

Horizontal Anchorage Requirements In The Longitudinal Direction (602-6)

62a.	Using the tables, find the required horizontal anchorage (Ah) in the longitudinal direction. (Appendix B, Part 4) (602.6.E)	Exterior Wall Ah				lbs./ft.

62b.	If using vertical X-bracing planes (and the formulas in section 602-6.F) determine anchorage value for X-bracing planes. (If using exterior long walls, skip to item #63.)

|  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- |
|  | 1. Number of chassis beam lines used for vertical X-bracing planes. | 2 or 4 | 2 or 4 | 2 or 4 |  |

|  |  | trial 1 | trial 2 | trial 3 |  |
| --- | --- | --- | --- | --- | --- |
|  | Number of X-bracing planes proposed under each chassis beam along the length of the unit. |  |  |  |  |
|  | 2. Horizontal anchorage (B) required force, based on formula. |  |  |  | lbs. |
|  | 3. Assumed height (h-b) based on Figure 6-11. |  |  |  | ft. |
|  | 4. Tension (TL) based on formula. (602-6.F.(3)). |  |  |  | lbs. |
| 63. | What is the manufacturer-supplied value for horizontal anchorage? (#16d, Mfg. WkSht.) |  |  |  | lbs./ft. |
| 64a. | For shear walls: is value #63 greater than #62a? If yes, skip to item #67. If no, contact owner for clarification. | yes no | yes no | yes no |  |
| 64b. | For X-bracing: is value #63 greater than value #62b.2? If yes, return to item #62b.3. If no, increase number of vertical X-bracing planes and repeat items 62b.1 and 62b.2 until answer is yes. For multi-section units consider 4 lines of vertical X-bracing under all chassis beams. | yes no | yes no | yes no |  |
| 65. | What is the manufacturer-supplied rated strap tension? (#16e, Mfg. WkSht. or product supplier) |  |  |  | lbs. |
| 66. | Is value #65 greater than #62b.4? If yes, continue. If no, contact owner to obtain straps with greater capacity, or return to item #62b.1 and increase the number of vertical X-bracing planes until answer is yes. | yes no | yes no | yes no |  |

APPENDIX C

Withdrawal Resistance Verification (603-2.B)

67.	Using Appendix C, Table C-1 or C-2, verify that the foundation system will resist withdrawal.  Answer question #67a for type E.  Answer question #67b for types C, I, or type E with interior pier anchorage.

a.	Withdrawal Resistance for long foundation wall. (Type E)
Circle the type of material that is to be used.	Reinforced Concrete
	Masonry-Fully Grouted
		Masonry-Grouted @ 48” o.c.
		All-Weather Wood / Footing

1)	Using Table C-1, which capacity is greater than required Av? (603-2.B.(1)) (#52a)					lbs./ft.

2)	Using Table C-1, what is the height of the wall + footing for required withdrawal resistance? (hw + 6”)					in.

3)	What is the height of the wall + footing for frost protection? (frost depth (#9) + 12”) 					in.

4)	What is the greatest height #67a.2 or #67a.3?					in.

Circle the height which controls.		Withdrawal
		Frost Depth

5)	Record the bottom of footing depth from grade.					in.
(Item #67a.4 - 12”)

6)	Using Table C-1, what is the required width of the wall footing for withdrawal?					in.

7)	Is item #67a.6 greater than or equal to item #49?	yes	no
If yes, continue.  If no, change footing width to item #49.

8)	Record design exterior wall footing width.					in.

b.	Withdrawal Resistance for Piers. (Types C, C1 (concrete dead-man), I or type E with interior pier anchorage - multi-section units.)

Circle pier type:	Reinforced Concrete
	Reinforced Masonry - fully grouted
	Reinforced Concrete Dead-man

Exterior			Interior	
					(when used)

1)	Using Table C-2, which capacity is greater than required Av? (#52a and #52c) (603-2.B.(2))							lbs./pier *

2)	Using Table C-2, what is the height of the pier + footing for required withdrawal resistance?							in. *
(hp + 8")

3)	What is the required height of pier + footing for frost protection? (frost depth (#9) + 12”)							in.

4)	What is the greatest height #67b.2 or #67b.3?							in.

Circle the height which controls.		Withdrawal			Withdrawal
		Frost Depth			Frost Depth

5)	Record the bottom of footing depth from grade.							in.
(Item #67b.4 - 12”)

6)	Using Table C-2, what is the required width of the square footing if withdrawal resistance controls or if frost depth controls?							in. *

c.	Frost depth for marriage walls.  What is the required depth of footing below grade for frost protection? (frost depth (#9))					in.
(no withdrawal resistance)

Vertical Anchorage and Reinforcement for Longitudinal Foundation Walls and Piers
(603-2.D)

68.	Using Appendix C, Table C-3, C-4A or C-4B, verify that the foundation anchors will resist uplift.  Answer question #68a for type E.  Answer question #68b for types C, I, or type E with interior pier anchorage.

a.	Vertical Anchor Capacity for longitudinal foundation wall (type E).  (603-2.D.2)

1)	Using Table C-4A (concrete & masonry), which capacity is greater than the required Av? (#52a, Design Wksht.)

If treated wood wall, skip to item #68a.3.	lbs./lineal ft. of wall

Circle correct washer choice for the capacity selected		Standard Washer
		Oversized Washer

2)	Using Table C-4A (masonry and concrete):

a)	Required anchor bolt diameter					in.

b)	Required anchor bolt spacing					in.

c)	Using Table C-3A:

(1)	Rebar size					*

(2)	Lap splice					in.

(3)	Rebar hook length					in.

3)	Using Table C-4B (wood), which capacity is greater than the required Av? (#52a, Design Wksht.)

If using concrete or masonry wall, skip to item #68b.	lbs./lineal ft. of wall

4)	Using Table C-4B (wood):

a)	Required nailing					*

b)	Minimum plywood thickness					in.

c)	Required anchor bolt diameter					in.

d)	Required anchor bolt spacing					in.

b.	Vertical Anchor Capacity for Piers
(Types C, I, or type E with interior pier anchorage)
(603-2.D.1)

Exterior			Interior	
				(when used for
				anchorage in
				multi-section units)

1)	Using Table C-3, which capacity in the table is greater than the required Av?							lbs./pier
(From #52a, Design Wksht.)

Exterior			Interior

2)	Using Table C-3:

a)	Number of anchor bolts		1  or  2			1  or  2

b)	Anchor diameter		1/2" or 5/8"			1/2" or 5/8"

3)	Using Table C-3A:

a)	Rebar size		#4 or #5			#4 or #5

b)	Lap splice							in.

c)	Rebar hook length							in.

Horizontal Anchorage and Reinforcement for Transverse Foundation Walls (603-3)

69.	Using Appendix C, Table C-5A or C-5B, verify that the foundation anchorage will resist sliding at the transverse end foundation walls.  Use for types C, E, or I.

End Wall			Interior Wall

a.	For continuous foundations.

Using Table C-5A (concrete & masonry) or C-5B (wood), which capacity is greater than the required (Ah) (603-3) (item #56)?							lbs./ft.

1)	Using Table C-5A, find:

a)	Required anchor bolt diameter							in.

b)	Required anchor bolt spacing							in.

c)	Using Table C-3A:

(1)	Rebar size							*

(2)	Lap splice							in.

(3)	Rebar hook length							in.

2)	Using Table C-5B, find:

a)	Required nailing							*

End Wall			Interior Wall

b)	Minimum plywood thickness							in.

c)	Required anchor bolt diameter							in.

d)	Required anchor bolt spacing							in.

b.	For transverse short foundation walls completed with diagonal braces.
(603-5)

Using Appendix C, Table C-5A, verify the diagonal anchorage capacity to the short foundation wall.

End			Interior

1)	Record the required horizontal force (Ah ´ Wt) from 602-5.G.1.a and item #56.							lbs.

2)	Table C-5A capacity for one 1/2” diameter bolt at 12” o.c.		1800			1800		lbs.

3)	Number of bolts (Ah ´ Wt ÷ 1800; one minimum) at concrete or masonry top of short wall.							*

4)	Size of anchor bolts							in.

5)	Using Table C-3A:

a)	Rebar size							*

b)	Lap splice							in.

c)	Rebar hook length							in.

c.	For vertical X-bracing planes in the transverse direction.
(603-6)

Using Appendix C, Table C-5A, verify the diagonal anchorage to the pier footings and the tension capacity of the diagonals.

1)	Record the required horizontal force (C) from item #59c.					lbs.

2)	Table C-5A capacity for one 1/2” diameter bolt at 12” o.c.			1800		lbs.

3)	Number of bolts (C ÷ 1800; one minimum) at top of a footing.					*

4)	Record the required tension force (Tt) from item #59e.					lbs./diag.

5)	Select tension strap capacity greater than or equal to Tt from owner’s product supplier or manufacturer’s supplied capacity (item #60).					lbs./diag.

6)	Record diagonal strap data

Horizontal Anchorage for Longitudinal Foundation Walls (603-4)

70.	Using Appendix C, Table C-5A or C-5B, verify that the foundation horizontal anchorage will resist sliding at the long foundation walls.  Use for types C, E and I.

a.	For continuous exterior foundation walls.

Using Table C-5A (concrete and masonry) or Table C-5B (wood), which capacity is greater than the required exterior Ah? (602-6.E) (item #62a)					lbs./ft.

1)	Using Table C-5A, find:

a)	Required anchor bolt diameter					in.

b)	Required anchor bolt spacing					in.

c)	Using Table C-3A:

(1)	Rebar size					*

(2)	Lap splice					in.

(3)	Rebar hook length					in.

2)	Using Table C-5B, find:

a)	Required nailing					*

b)	Minimum plywood thickness					in.

c)	Required anchor bolt diameter					in.

d)	Required anchor bolt spacing					in.

b.	For vertical X-bracing planes.
(603-6.A.(2))

Using Appendix C, Table C-5A, verify the diagonal anchorage to the pier footings and the tension capacity of the diagonals.

1)	Record the required horizontal force (B) from item #62b.2.					lbs.

2)	Table C-5A capacity for one 1/2” diameter bolt at 12” o.c.			1800		lbs.

3)	Number of bolts (B ÷ 1800; one minimum)					*

4)	Record the required tension force (TL) from item #62b.4.					lbs./diag.

5)	Select tension strap capacity greater than or equal to TL from owner’s product supplier or manufacturer’s supplied capacity (item #60).					lbs./diag.

6)	Record diagonal strap data

SUMMARY SHEET
(Accompanies Chapter 7)

71.	Compare values from preceding questions.
Select the largest value.

a.	Bearing area and vertical anchorage

1.	Pier footings: types C, E & I.

Piers

Marriage Wall

Exterior			Interior			Cont.			At Post

Required Effective Footing Area from questions #49, #50, & #51.													sq.ft.

Required footing area to resist withdrawal due to uplift from Question #67. (for single-section or 2 tie-down system, only the exterior piers resist uplift, for 4 tie-down only the interior piers and exterior walls resist uplift)							sq.ft.

Piers

Marriage Wall

Exterior			Interior			Cont.			At Post

Pier Footing Sizes (largest of above)													sq.ft.

“Dead-man” footing size.				sq.ft.

Reinforcing for pier footings:
Bring forward answers from previous questions. (#68b) (Types C , I, or E with interior pier anchorage.)

Exterior			Interior

Number of anchor bolts

Anchor bolt diameter							in.

Rebar size

Lap splice							in.

Rebar hook length							in.

Marriage
		Exterior			Interior			Wall

Footing depth: grade to bottom of footing										in.

Pier footing and “dead-man” footing reinforcing bars:			#4 at 10" o.c.

“Dead-man” footing depth: grade to bottom of footing					in.

2.	Long Foundation wall footing: type E or I:

Required Effective Footing Width

Required Footing Width for soil bearing (#49)					ft.

Required Footing Width to resist uplift withdrawal (#67a.6)					ft.

Wall Footing Size (largest of above)					ft.

Footing Depth: Grade to bottom of footing (#67a.5)					in.

Footing reinforcing bars.			2  #4 bars

Reinforcing for longitudinal foundation walls:  Record answers from item #68a and record sizes and spacings.

From 68a.2: masonry and concrete:

Required anchor bolt diameter					in.

Required washer size		Standard			Oversized

Required anchor bolt spacing					in

Rebar size

Lap splice					in.

Rebar hook length					in.

From 68a.4: wood:  Record answers from item #68a.4 and record sizes and spacings.

Required nailing

Minimum plywood thickness.					in.

Required anchor bolt diameter

Required anchor bolt spacing					in

b.	Horizontal anchorage in the transverse direction - foundation walls

1.	Continuous foundation walls (#69a)

Number of transverse foundation walls		2	4	6
(#55a)

Required Footing Width (minimum)			12		in.

From #69a.1: concrete / masonry:

End Wall			Interior Wall

Anchor bolt diameter							in.

End Wall			Interior Wall

Anchor bolt spacing							in.

Rebar size

Lap splice							in.

Rebar hook length							in.

From #69a.2: wood:

Required nailing

Minimum plywood nailer

Anchor bolt diameter

Anchor bolt spacing							in.

2.	For transverse short foundation walls completed with diagonal braces (#69b)

End			Interior

Number of pairs of diagonals (1 for single-section units, 2 for multi-section units) times number of short walls (end or interior) (#55a)

Diagonal spacing (same as number of short walls)

From #69b: concrete / masonry:

Anchor bolt diameter							in.

Number of bolts

Rebar size

Lap splice							in.

Rebar hook length							in.

3.	For vertical X-bracing planes in lieu of short walls. (#69c)

Number of X-brace locations (#59)

Spacing of vertical X-brace planes (#59)					ft.

Items from #69c.3 and #69c.5

Required anchor bolt diameter					in.

Number of bolts at top of footing to connect diagonal

Diagonal strap size

Connection to top flange of chassis beam (describe)

c.	Horizontal anchorage in the longitudinal direction - exterior foundation walls

1.	Continuous foundation walls

Reinforcing for longitudinal foundation walls: record only if larger sizes or closer spacing than recorded for vertical anchorage (#71a.2).

From #70a.1: concrete / masonry:

Anchor bolt diameter					in.

Anchor bolt spacing					in.

Rebar size

Lap splice					in.

Rebar hook length					in.

From #70a.2: wood: record only if larger sizes or closer spacings than recorded for vertical anchorage (#71a.2)

Required nailing

Minimum plywood nailer

Anchor bolt diameter

Anchor bolt spacing					in.

2.	Vertical X-bracing planes under chassis beam lines (#70b.)

Number of X-brace locations along one chassis beam line.

Spacing of X-brace locations along one chassis beam line.					ft.

Required anchor bolt diameter.					in.

Number of bolts at top of footing at connection to the diagonal.

Diagonal strap size.

Connection to bottom flange of chassis beam (describe).

72.	Do foundation dimensions and details comply with Foundation Capacities Table, based on Foundation Design Table Values?	yes	no

73.	If #72 yes, approve.  If no, return to applicant.		APPROVE

DISAPPROVE