CHAPTER 1.  GENERAL CONSIDERATIONS

1-1.   OBJECTIVES.  The Modernization Standards Handbook provides

design, construction and environmental criteria for the

modernization of the nation's existing public housing

stock.  These standards establish a uniform basis for

evaluating the physical condition and energy efficiency of

the public housing stock to determine current rehabilitation

needs in accordance with Federal housing objectives.  These

objectives are:

a.  Projects that are safe, in physically sound condition

and with all systems performing their intended design

function;

b.  Attractive, livable residential environments;

c.  Energy efficient buildings and systems;

d.  Increased security for tenant and project property,

where required; and

e.  Projects that can be efficiently maintained at a

reasonable operating cost after rehabilitation.

1-2.   USE OF HANDBOOK.  This Handbook, with Appendix 3, Physical

Needs Assessment Survey, is used in the preparation of the

application for funding under the Comprehensive Improvement

Assistance Program (CIAP).  Its use is required by the CIAP

Handbook 7485.1 REV-2.

a.  Standards.  These include mandatory standards (see

paragraph 1-3) that must be met wherever there is a

component that is not functional or serviceable and

project specific standards that are met where determined

by individual project need (see paragraph 1-5).  The

mandatory standards provide performance or prescriptive

criteria to evaluate whether there is a deficiency.

Where a deficiency is found, the correction of that

deficiency may trigger the applicability of local code.

In all cases, PHAs shall comply with local codes.  The

mandatory standards rely heavily on, but may exceed,

local code where the local code does not meet HUD's

standard for minimum habitability or there are

opportunities for cost-containment or health and safety

issues such as lead-based paint hazard abatement.

Examples of cost-containment include energy conservation

measures and extra durable materials to achieve lower

maintenance and replacement costs.  When the HUD

mandatory standards conflict with any local code, the

more stringent requirement shall apply.

1-1                        2/85

b.   Physical Needs Assessment.

(1)  Use of Survey Instrument.  When carrying out a

physical needs assessment, the Modernization

Standards supplement the Survey Instrument in

Appendix 3.  The Survey Instrument contains 16

parts and is keyed to the individual technical

standards.  Therefore, public housing agencies

(PHAs)* shall use the technical sections of the

Handbook and related parts of the Survey

Instrument tht apply to the physical

characteristics of an affected project.  The

physical needs assessment may be individually

tailored by PHAs for each specific project.  For

example, the sections dealing with the Building

Envelope (2.0) and Dwelling Unit Survey (16.0)

contain all of the necessary data for review of

detached single family scattered site units

comprised of structures of different ages and

designs.

(2)  Required Expertise.  The Survey Instrument and

standards are geared to the use of staff who have

a working knowledge of construction and local

codes.  After a modernization program is approved,

an architectural/engineering (A/E) firm may be

hired to do the technical plans and specifications

if the complexity or scope of the work warrants

it.  As provided for in the CIAP Handbook, where

necessary, the PHA, with prior approval of HUD,

may use an A/E to carry out the physical needs

assessment.

1-3.   MANDATORY STANDARDS.  Public housing projects may

be modernized to the extent necessary to meet the mandatory

standards contained in this Handbook, which include both

modernization and energy conservation standards.  These

mandatory standards are not building or construction codes,

but must be used in conjunction with relevant local health,

safety and building codes, hereinafter referred to as

"relevant codes." The mandatory standards consist of three

types, as follows:

a.   Health and Safety.  These standards relate to health

and safety, especially where they would affect tenants

and PHA employees.  These items, in most cases, require

emergency attention.  They include, but are not limited

to, items of compliance with Federal, State and local

health and safety codes, regulations and ordinances;

b.   Systems Integrity.  These standards relate to items

required to preserve the basic integrity of site and

building systems, including conditions resulting from

normal wear, abuse, and deferred maintenance, as well

as conditions requiring major capital improvements; and

*All references in this Handbook to PHAs shall apply to Indian

Housing Authorities (IHAs) as well as non-Indian PHAs.

2/85                               1-2

c.  Energy Conservation.  These standards apply to energy

conservation opportunities and devices where determined

to be eligible (15-year or less simple payback period)

in a specific project by an energy audit conducted by

using HUD publication, Energy Conservation for Housing:

A Workbook (HUD-PDR-700(3)), State standards or other

HUD-approved methods.  Before approving the replacement

of relatively new or functional items, the HUD Office

shall consider all of the alternatives and exercise

professional judgment as to whether such replacement is

in the best interest of HUD and the PHA.  For example:

(1)  Evaluation of Request to Replace a Furnace.  The

PHA's energy audit may indicate that the

replacement of a seven-year old furnace (in very

good condition) with a new energy efficient furnace

which will cost $2,000 and would save an estimated

$150 in fuel costs per year.  The new furnace has an

estimated life of 20 years.  The new furnace is

potentially eligible for funding because the simple

payback period is 13.3 years ($2,000 / $150).  As

part of the same energy audit, further analysis

indicates that the existing furnace can be

retrofitted with a flue damper and electric

ignition which will cost $500, have an estimated

life of 10 years and save $100 in fuel costs per

year.  This alternative work has a simple payback

period of five years ($500 / $100).  Professional

judgment indicates that approval should be given

for the flue damper and electric ignition because

the investment of $500 will extend the useful life

of the furnace by 10 years while annually saving

two-thirds ($100 vs. $150) of the energy that a new

furnace would. At the end of ten years, the PHA

would make further evaluation regarding the most

appropriate heating system to use, including

district heating.

1-4.   PREMATURE REPLACEMENT.  Serviceable building components

(such as roofing), equipment (such as furnaces or domestic

hot water heaters), appliances (such as ranges and

refrigerators) or materials (such as paving) shall not be

replaced prematurely (such as 100 percent replacement)

except under special circumstances where energy conservation

opportunities make it eligible (15-year or less simple

payback) and where ongoing maintenance and operating costs

will not be adversely affected.  It is assumed that

replacements will be made gradually over a period of time

when they become necessary.  Serviceable and functional

building compononents, systems, equipment or materials that

do not present

1-3                          2/85

a safety or health hazard shall not be replaced

prematurely even through they fail to meet the

mandatory standards that would be applicable for

rehabilitation.

1-5.   PROJECT SPECIFIC STANDARDS.

a.  The mandatory standards may be exceeded only upon a

determination by the Regional Office that the work is

necessary or highly desirable for the long-term

viability of a particular project, including site and

building security.  Project-specific work is determined

in regard to the needs of each particular project and is

not approvable across the board for all projects.  Such

work responds to differences in climate, location,

building type, resident use and concerns, and

management/maintenance systems.  Examples of such work

are found in Section 2 of each chapter.  Efforts to

excessively modernize buildings in order to compete with

other subsidized housing in the community are expressly

prohibited.  Although all rehabilitation shall meet a

modest, non-luxury standard, conversion or redesign may

be approved on an exception basis where necessary to

assure the long-term viability of a particular project.

b.  Project specific work must be certified by the PHA as

necessary or highly desirable for the long-term

viability of the project.  This certification is in lieu

of any written justification and is included in the

Board Resolution as part of the Final Application.  In

reviewing project specific work, the Field Office shall

make reasonable judgements, based on the location,

circumstances and past performance of the PHA, as to the

level of any justification required.  Such justification

shall be minimal for PHAs with good performance.

c.  The procedures for approval of all modernization work,

both mandatory and project specific, are set forth in

the CIAP Handbook 7485.1 REV-2.  In general, these

procedures involve PHA proposals, Field Office review

and recommendation, and Regional Office approval.

1-6.   APPLICABILITY.

a.  Location.  The mandatory standards apply to all PHAs,

including Indian Housing Authorities (IHAs), located in

the contiguous 48 states.  PHAs located outside of these

states shall appropriately modify these standards to

reflect climatic and regional conditions.

b.  Programs.  For modernization of homeownership projects

(Turnkey III and Mutual Help), the specific work shall

meet the applicable standard.

2/85                                 1-4

c.  Funding.  This Handbook applies to modernization

approved under CIAP in Federal Fiscal Year (FFY) 1985

and thereafter.

1-7.    ORGANIZATION.  There are one introductory and nine

technical chapters which set forth the mandatory

standards for major project components and systems.

Performance objectives for each component and system are

outlined at the beginning of each chapter to establish

general criteria.  Specific standards are then given for

each subcomponent and subsystem.  Each chapter is

divided into two sections as follows:

a.  Section 1, Mandatory Standards.  The mandatory standards

apply to all projects.  When comprehensive modernization

is completed, projects shall meet all mandatory

standards for components that are not functional or

serviceable or when special purpose, emergency or

homeownership modernization is completed, projects shall

meet the applicable mandatory standards for the specific

work.  With regard to premature replacement, see

paragraph 1-4.

b.  Section 2, Project Specific Standards.  This section

contains examples of work that are project-specific and

does not apply to all projects.  These examples are not

intended to be all-inclusive.  Also, repair and

replacement guidance is provided to encourage cost-

effective implementation for increased durability, ease

of maintenance, project security and reduced operating

costs.

1-8.   RELEVANT CODES AND REQUIREMENTS.  The mandatory standards

are designed to complement other Federal, State, Tribal and

local codes and requirements that apply to project sites and

buildings.  When these standards conflict with any applicable

code requirement, the more stringent requirement shall

apply.

a.  Minimum Property Standards (MPS).  Many older projects

were built when living standards and system requirements

were less stringent.  This Handbook's objective is to

bring projects up to a level equivalent to that intended

by the HUD MPS for Multifamily Housing, as they relate

to existing structures.  Therefore, all modernization

shall be consistent with Chapters 3 - Site Design, 4 -

Building Design, 5 - Materials and 6 - Construction in

both MPS for Multifamily Housing, HUD Handbook 4910.1,

and for One and Two Family Dwellings, HUD Handbook

4900.1.

1-5                       2/85

b.  Industry Code.  All modernization shall comply with the

ASHRAE Standard 90-80A "Energy Conservation in New

Building Design" and any revision thereof.

c.  Accessibility for the Physically Handicapped.

Modernization work, when required to provide

accessibility to the physically handicapped, shall be

considered as necessary to meet the mandatory standards

and shall comply with accessibility requirements

established in 24 CFR Part 40, Standards for Design,

Construction, and Alteration of Publicly Owned

Residential Structures.  See the CIAP Handbook 7485.1

REV-2 for application of this regulation.

2/85                               1-6