                    TABLE OF CONTENTS

Paragraph                                              Page

            CHAPTER 1.  GENERAL CONSIDERATIONS

1-1.   Objectives                                      1-1

1-2.   Use of Handbook                                 1-1

1-3.   Mandatory Standards                             1-2

1-4.   Premature Replacement                           1-3

1-5.   Project Specific Standards                      1-4

1-6.   Applicability                                   1-4

1-7.   Organization                                    1-5

1-8.   Relevant Codes and Requirements                 1-5

                 CHAPTER 2.  SERVICES

                Performance Objectives

2-1.   General                                         2-1

  Section 1: Mandatory Standards

2-2.   Fire Protection                                 2-2

2-3.   Mail Handling and Delivery                      2-3

2-4.   Garbage Collection                              2-4

2-5.   Infestation Control                             2-5

2-6.   Laundry Facilities                              2-5

2-7.   Management/Maintenance Facilities               2-7

2-8.   Community Services Facilities                   2-7

2-9.   Reserved                                        2-7

  Section 2: Project Specific Standards

2-2B.  Reserved                                        2-8

2-3B.  Mail Handling and Delivery                      2-8

2-4B.  Garbage Collection                              2-9

2-5B.  Reserved                                        2-9

2-6B.  Laundry Facilities                              2-9

2-7B.  Management/Maintenance Facilities               2-11

2-8B.  Community Services Facilities                   2-12

2-9B.  Tenant Storage Space                            2-16

                         i                        2/85

Paragraph                                                Page

                   CHAPTER 3.  SITE

                 Performance Objectives

3-1.     General                                          3-1

    Section 1:  Mandatory Standards

3-2.     Vehicular Access                                 3-2

3-3.     Pedestrian Access                                3-2

3-4.     Parking Facilities                               3-2

3-5      Health and Safety                                3-3

3-6.     Site Sanitation                                  3-3

3-7.     Site Definition                                  3-4

3-8.     Site Development                                 3-4

3-9.     Grading and Drainage                             3-4

3-10.    Recreation                                       3-4

3-11.    Reserved                                         3-5

    Section 2:  Project Specific Standards

3-2B.    Vehicular Access                                 3-6

3-3B.    Pedestrian Access                                3-6

3-4B.    Parking Facilities                               3-6

3-5B.    Reserved                                         3-7

3-6B.    Reserved                                         3-7

3-7B.    Site Definition                                  3-7

3-8B.    Site Development                                 3-7

3-9B.    Reserved                                         3-8

3-10B.   Recreation                                       3-8

3-11B.   Lighting                                         3-8

    CHAPTER 4.  BUILDING ENTRANCE AND CIRCULATION

                Performance Objectives

4-1.     General                                          4-1

    Section 1:  Mandatory Standards

4-2.     Public Spaces                                    4-2

4-3.     Building Entrances and Lobbies                   4-2

4-4.     Halls and Corridors                              4-3

4-5.     Stairways                                        4-3

2/85                          ii

Paragraph                                                 Page

    Section 2:  Project Specific Standards

4-2B.    Public Spaces                                    4-4

4-3B.    Building Entrances and Lobbies                   4-4

4-4B.    Reserved                                         4-5

4-5B.    Stairways                                        4-5

        CHAPTER 5.  DWELLING UNITS

                   Performance Objectives

5-1.     General                                          5-1

    Section 1:  Mandatory Standards

5-2.     Entrance, Living and Dining Areas                5-2

5-3.     Kitchens                                         5-2

5-4.     Bathrooms                                        5-4

5-5.     Bedrooms                                         5-6

5-6.     Storage                                          5-6

    Section 2:  Project Specific Standards

5-2B.    Reserved                                         5-7

5-3B.    Kitchens                                         5-7

5-4B.    Reserved                                         5-8

5-5B.    Reserved                                         5-8

5-6B.    Reserved                                         5-8

            CHAPTER 6.  MECHANICAL SYSTEMS

                  Performance Objectives

6-1.     General                                          6-1

    Section 1:  Mandatory Standards

6-2.     Mechanical Equipment                             6-2

6-3.     Heating                                          6-2

6-4.     Domestic Hot Water                               6-4

6-5.     Ventilation                                      6-5

6-6.     Plumbing                                         6-5

6-7.     Reserved                                         6-6

                          iii

2/85

Paragraph                                              Page

    Section 2: Project Specific Standards

6-2B.    Reserved                                         6-7

6-3B.    Reserved                                         6-7

6-4B.    Reserved                                         6-7

6-5B.    Reserved                                         6-7

6-6B.    Plumbing                                         6-7

6-7B.    Cooling                                          6-7

          CHAPTER 7.  ELECTRICITY AND LIGHTING

                 Performance Objectives

7-1.     General                                          7-1

    Section 1: Mandatory Standards

7-2.     Electrical Equipment and Wiring                  7-2

7-3.     Convenience Outlets/Receptacles                  7-2

7-4.     Interior Lighting                                7-3

7-5.     Outdoor Lighting                                 7-3

7-6.     Emergency Lighting                               7-4

7-7.     Electric Utilities                               7-4

7-8.     Reserved                                         7-4

7-9.     Reserved                                         7-4

    Section 2:  Project Specific Standards

7-2B.    Electrical Equipment and Wiring                  7-5

7-3B.    Convenience Outlets/Receptacles                  7-5

7-4B.    Interior Lighting                                7-5

7-5B.    Outdoor Lighting                                 7-6

7-6B.    Reserved                                         7-6

7-7B.    Reserved                                         7-6

7-8B.    Emergency Call Systems                           7-6

7-9B.    Television Antennas                              7-6

                CHAPTER 8.  STRUCTURAL SYSTEMS

                   Performance Objectives

8-1.     General                                          8-1

2/85                             iv

Paragraph                                                 Page

     Section 1:  Mandatory Standards

8-2.      Structural Members                               8-2

8-3.      Structural Spaces                                8-2

     Section 2:  Project Specific Standards

8-28.     Reserved                                         8-4

8-3B.     Structural Spaces                                8-4

                CHAPTER 9.  BUILDING ENVELOPE

                   Performance Objectives

9-1.      General                                          9-1

     Section 1:  Mandatory Standards

9-2.      General                                          9-2

9-3.      Exterior Walls                                   9-2

9-4.      Roofs                                            9-3

9-5.      Chimneys                                         9-8

9-6.      Exterior Accessory Structures                    9-8

9-7.      Windows                                          9-9

     Section 2:  Project Specific Standards

9-2B.     Reserved                                        9-10

9-3B.     Reserved                                        9-10

9-4B.     Roofs                                           9-10

9-5B.     Reserved                                        9-11

9-6B.     Reserved                                        9-11

9-7B.     Windows                                         9-11

           CHAPTER 10.  PRODUCTS AND MATERIAL

                 Performance Objectives

10-1.      General                                         10-1

                           v                          2/85

Paragraph                                               Page

     Section 1:  Mandatory Standards

10-2.     Reserved                                     10-2

10-3.     Vegetation                                   10-2

10-4.     Paving                                       10-2

10-5.     Fencing and Railing                          10-3

10-6.     Finishes                                     10-3

10-7.     Doors                                        10-5

10-8.     Elevators                                    10-9

     Section 2:  Project Specific Standards

10-2B.    Rehabilitation, Alteration and Repair       10-11

10-3B.    Vegetation                                  10-11

10-4B.    Reserved                                    10-12

10-5B.    Reserved                                    10-12

10-6B.    Finishes                                    10-12

10-7B.    Doors                                       10-14

10-8B.    Elevators                                   10-18

                    APPENDICES

1.        Prohibited Work Items

2.        Index

3.        Physical Needs Assessment Survey

2/85                             vi

